## Sheet1
Prepared by: S & P Power Units (Pty) Ltd
Inventory Valuation using Average Cost as at 30/09/20
Code | Description | Unit | Cost
Inventory Category : 025 - Solar Panels - Canadian Solar
CS-395P | Canadian 395W Solar Panel | each | 0
CS3K-300-PB-FG | 300w Canadian Solar | each | 1287.96
CS3K-305P-MC4 | Candian Solar 305w Poly KuPower | each | 1284.57
CS3L-335P | Canadian Solar 335W Poly Perc HiKU | each | 1465.13
CS3U-350P | Canadian Solar Panels 350W | each | 1509
CS3U-360PF35MC4 | Canadian Solar 360w Poly Panels | each | 1422
CS3U-365PF35MC4 | 365w Poly Solar Panel | each | 1474.86
CS3W-400P | Candian Solar 400w | each | 2014.58
CS3W-405MS | 405w CS Solar Panel KuMax | each | 1559.25
CS6K-270P | Canadian Solar 270W Poly (K) Panel | each | 1572.91
CS6K-275P | Canadian Solar 275W Poly | each | 1233.61
CS6K-27OP | Canadian solar 270W Poly (K) | each | 1468
CS6U-325P | Canadian Solar 325w Poly (72x6) | each | 1447.56
CS6U-330P | Canadian solar 330W Poly (U) (72X6) | each | 1447.21
Inventory Category : 026 - Solar Panels - Cinco
CHN10W | Solar Panel 10 Wp | each | 230.8
CHN20W | Solar Panel 20 Wp | each | 0
CHN55-40M | Solar Panel 55W (380MM012) | each | 437.26
CNC160P-36 | Cinco 160w 36 Cell Poly Solar Panel | each | 0
CNC30P | 30w Cinco Solar Panel | each | 297.5
CNCC100-36 | Cinco 100w 36 Cell Poly Panel | each | 605.84
CNCC100P-72 | Cinco 100w 72 Cell Poly Solar Panel | each | 619.64
CNCC10P-36 | Cinco 10w 36 Cell Poly Solar Panel | each | 172.12
CNCC50P-36 | Cinco 50w 36 Cell Solar Panel | each | 361.99
CNCC80P-36 | Cinco 80w 36 Cell Poly Solar Panel | each | 489.04
Inventory Category : 027 - Solar Panels - Enersol
SD-ECO100W | Enersol 100w Solar panels (380M0034) | each | 0
SD-ECO80W | Enersol Solarpanel 80W (380m0036) | each | 741.26
SD-ECOPLUS30W | Enersol 30w Solar panel | each | 478.94
Inventory Category : 028 - Solar Panels - JA Solar
JAM72S-10-405-M | JA 405w Solar Panels | each | 0
JAP60S-01-275SC | JA Solar 275W Poly 5BB | each | 1186.43
JAP60S-09-280SC | JA 280w Poly Solar Panel - Large | each | 1160.63
JAP72S-01-330-S | JA Solar Panel 330W | each | 1392.11
JAP72S-09-340SC | JA Solar 340w Poly Large Wafer with MC4 | each | 0
Inventory Category : 029 - PV Sticks
1303460000 | PV stick - Male (MC4) | each | 23
1303500000 | PV stick - Female (MC4) | each | 23
1422030000 | PV Stick Set - Weidmuller | each | 59.58
320018 | Y Female Connector PV | each | 155
320019 | Y Male Connector PV | each | 135
Inventory Category : 030 - Inverters & Access. - ABB
3000200205 | Fronius PRIMO 3.0-1 | each | 16118.95
3000200212 | Fronius PRIMO 8.2-1 | each | 26357.41
3400200324 | Fronius Smart Meter 63A-1 | each | 1325.83
FRONIUS5.0 | Fronius Primo 5.0-1 Grid Invertor | each | 0
FRONIUS8.2-1 | Fronius 8.2-1 Peak Power Invertor | each | 26357.41
PVI-5000TL-OUT | Uno 5000 | each | 16100.36
TRIO-27.6TL-OU | Trio 27.6 | each | 52421.88
Inventory Category : 031 - Inverters & Access. - SMA
255913 | Solarlog PR0380 3Ph CurrentmtrMidRS485 | each | 2125.56
256059 | Solar Log Pro380CT RS485 3Phase | each | 2915.13
DM-485CB-10 | RS485 interface type data module | each | 760.32
JS245-250/5A | Mini Split Corce CT | each | 572.57
MC-PB | Sunny Island 1 per cluster | each | 2075.36
SB1600TL | Sunny Boy 1600TL | each | 9805.34
SB2500TLST | Sunny Boy 2500LST-21 Single tracker | each | 0
SB3000TL-21 | Sunny Boy 3000TL | each | 12722.83
SB3000TLST21 | Sunny Boy 3000LST-21 Single tracker | each | 12722.83
SI-SYSCAN-NR | Can Comm Interface for SI Master | each | 1927.8
SI4.4M-11 | Sunny Island 4.4M | each | 23296.88
SMA-CLCON-PWRSU | Top Hat Rail Power Supply Unit 24vDC | each | 650.81
SMA-EDMM-10 | SMA-Data Manager M | each | 9927.19
SMA-EMETER-20 | SMA Energy Meter | each | 4572.71
SMA-SPD-KIT2-10 | DC Overvoltage Kit for Sunny Tri Power | each | 2335.5
SMA-STP20.0-30 | SMA Sunny Tripower 20000TL with Display | each | 39617.93
SMADCOVERVOLT | SMA DC Overvolt protect Tyoe II | each | 0
SOL-2.0-MINI-4G | Solis 2.0Kw Mini 4G Single Tracker | each | 4240.38
SOL-DLS-W | Solis Data Logging Stick - Wifi | each | 698.51
SRC-20 | Sunny Remote Control | each | 0
STP25000TL-30 | SMA STP 25000TL | each | 0
SWP-B10 | SWP-B10 | each | 2102
WEBBOX-BT-20 | Sunny Webbox with Blue Tooth | each | 5184.8
WM0200 | Solar-log 300 | each | 4000.91
Inventory Category : 032 - Multiplus Inverters - Victron
CMP121220000 | MultiPlus C 12/1200/50-16 - 230V VE.Bus | each | 10431
CMP121620000 | Multiplus Compact 12/1600/70-16 230V VE | each | 10668
CMP241620000 | MultiPlus C 24/1600/40-16 - 230V VE.Bus | each | 10668.6
CTR110000500 | Current Transformer 100A For Multplus ii | each | 463.8
PIN2421600000 | Phoenix Invertor 24/1600va230v Smart | each | 7871.4
PMP121500000 | Multiplus 12/500/20-16 230v AC Bus | each | 4252.8
PMP121800000 | Multiplus 12/800/35-16 | each | 5764.8
PMP122120000 | Multiplus 12/1200/50-16 230v VE Bus | each | 8041.2
PMP241800000 | Multiplus 24/800/16-16 230v VE BUS | each | 5764.8
PMP242120000 | Multiplus24/1200/25-16 | each | 8041.2
PMP245021010 | MultiPlus 24/5000/120-100 - 230V VE.Bus | each | 26343.6
PMP482305000 | Multiplus II 48/3000/35-32 230V | each | 0
PMP482305010 | Multiplus II 48/3000/35-32 230v | each | 12005.4
PMP482505010 | Multiplus II 48/5000/70-50 230v | each | 19264.8
PMP483020001 | MultiPlus 48/3000/35-16 - 230V VE.Bus In | each | 13341.6
PMP483021010 | MultiPlus 48/3000/35-50 - 230V VE.Bus In | each | 13681.2
PMP485021010 | MultiPlus 48/5000/70-100 - 230V VE.Bus I | each | 0
Inventory Category : 033 - Quattro Inverters - Victron
QUA481030010 | Quattro 48/10000/140-100/100 230V +50A | each | 42788.4
QUA485021010 | Quattro 48/5000/70-100/100 230V +50A au | each | 26388.6
QUA485021011 | Quattro 48/5000/70-100/100-S 230V +50A | each | 26388.6
QUA488024000 | Quattro 48/8000/70-100 | each | 35811.61
Inventory Category : 034 - Easysolar Inverter - Victron
CEP241621010 | EasySolar 24/1600/40-16 MPPT | each | 12944.4
PMP243027010 | EasySolar 24/3000/70-50MPPT150/70Colour | each | 22934.4
PMP485027010 | EasySolar 48/5000/70-100 - 230V-MPPT 150 | each | 37035
Inventory Category : 035 - Phoenix Inverters - Victron
CIN121620000 | Phoenix Inverter Compact 12/1600 | each | 8743.2
CIN122020000 | Phoenix Inverter C 12/2000 - 230V | each | 5409.07
CIN122200000 | Phoenix Inverter C 12/2000 - 230V | each | 9876
CIN242020000 | Phoenix Inverter C 24/2000 - 230V | each | 9234.95
CIN242200000 | Phoenix Inverter C 24/2000 - 230V | each | 9876
PIN121220200 | Phoenix Inverter 12/1200-230V SCHUKO | each | 4227
PIN121251200 | Phoenix Invertor 12/250 VE Direct Schuko | each | 0
PIN121371100 | Phoenix Invertoer 12/375 VE Direct IEC | each | 1404.6
PIN121371200 | Phoenix Invertor 12/375 VE Direct Schuko | each | 1404.6
PIN121800200 | Phoenix Inverter 12/800 230V VE Direct S | each | 2626.2
PIN122510200 | Phoenix 12/250 Invertor | each | 945
PIN123750100 | Phoenix Invertor 12/375 230v | each | 0
PIN123750200 | Phoenix Inverter 12/375-230V VE. Direct | each | 920.4
PIN242510200 | Phoenix Invertor 24/250 VE Direct Schuko | each | 0
PIN243020000 | Phoenix Inverter 24/3000 230V VE.Bus | each | 13998.6
PIN483750200 | Phoenix 48v 375va Invertor | each | 1585.8
Inventory Category : 036 - MPPT's - Victron
BPC120433034R | Blue Smart Charger IP65 12/4 | each | 849.6
SCC010010050R | Blue Smart MPPT 75/10 | each | 917.4
SCC010015050R | BlueSolar MPPT 75/15 (12/24V-15A) Retail | each | 1019.4
SCC010015200R | Blue Solar MPPT 100/15 | each | 1245.6
SCC010020050 | Blue Solar PWM-USB 12/24v 20A | each | 492
SCC010045200 | Blue Solar MPPT 150/45 -TR | each | 5096.4
SCC010045300 | Blue Solar MPPT 150/45-MC-4 | each | 5096.4
SCC010060200 | Blue Solar MPPT 150/60-TR | each | 0
SCC010060300 | Blue Solar MPPT 150/60 Mc-4 | each | 5662.8
SCC010070200 | Blue Solar Mppt 150/70 TR | each | 6229.2
SCC010070300 | BlueSolar MPPT 150/70-MC4 (12/24/36/48V- | each | 6229.2
SCC010085110 | Blue Solar MPPT 150/85- DO NOT USE!! | each | 6566.18
SCC020030200 | BlueSolar MPPT 100/30 (12/24V-30A) | each | 2265
SCC020035000 | BlueSolar MPPT150/35(12/24/36/48V-35A/if | each | 3093
SCC020050200 | BlueSolar MPPT 100/50 (12/24V-50A) | each | 0
SCC075015060R | Smart Solar MPPT 75/15 | each | 1359
SCC110020060R | Smart Solar MPPT 100/20 | each | 1812
SCC110030210 | Smart Solar MPPT100/30 | each | 2604.6
SCC110050210 | Smart Solar MPPT 100/50 | each | 3402
SCC115035210 | Smar Solar MPPT 150/35 | each | 3737.4
SCC115060210 | Smart Solar Mppt 150/60 TR | each | 6229.2
SCC115070310 | Smart Solar MPPT 150/70 MC4 | each | 6795.6
SCC115085311 | Smart Solar MPPT 150/85-MC4 | each | 7927.8
SCC115085410 | Smart Solar MPPT 150/85-TR | each | 8041.2
SCC115110211 | Smart Solar MPPT 150/100-TR | each | 9060.6
SCC115110311 | Smart Solar 150/100 MC4 | each | 9060.6
SCC115110420 | Blue Solar MPPT 150/100TR VE Can | each | 8833.8
SCC125060210 | Smart Solar MPPT 250/60 -TR | each | 6399
SCC125070210 | Smart Solar MPPT 250/70TR | each | 8494.2
SCC125085210 | Smart Solar MPPT 250/85-Tr | each | 9627
SCC125110210 | Smartsolar MPPT 250/100-Tr | each | 10759.2
SCC125110310 | Smart Solar MPPT 250/100 MC4 | each | 10759.2
SCC125110411 | Smart Solar MPT 250/100-TR VE Can | each | 10872.6
SCC125110441 | Blue Solar MPPT 250/100-TR VE.can | each | 10816.2
SCC900650010 | Smart Solar Pluggable Display | each | 542.4
Inventory Category : 037 - Chargers&-Controllers Victron
BPC12043064R | Blue Smart Charger IP65 12/4 | each | 703.2
BPC120531064R | Blue Smart Charger IP65 12/5 230V | each | 741
BPC120533034R | Blue Smart IP65 Charger 24/5 | each | 894.6
BPC120533064R | Blue Power Smart Charger 12v 5amp | each | 814.2
BPC121031034R | Blue Smart Charger IP65 12/10 (1) 230v | each | 1472.4
BPC121031064R | Blue Smart Charger 12/10 230V | each | 1340.4
BPC121313006 | Blue Smart Charger IP67 12/13 | each | 0
BPC121531034R | Charger Blue smart 12/15 | each | 1698.6
BPC121531064R | Blue smart Charger IP65 12/15 | each | 1476.6
BPC121713006 | Blue Smart IP67 Charger 12/17 | each | 1402.2
BPC123041002 | Blue Power Charger IP22 12/30 | each | 2446.2
BPC123044002 | Blue Smart Charger IP22 12/30 | each | 2446.2
BPC240530064R | Blue Power Charger IP65 24/5 + DC connec | each | 1170.2
BPC240531034R | Blue Smart IP65 Charger 24/5 | each | 1245.6
BPC240531064R | Blue Smart Charger IP65 (24/5) | each | 1245.6
BPC240831034R | Blue Smart IP65 Charger 24/8 | each | 1546.2
BPC240831064R | Blue Power Smart Charger 24/8 | each | 1698.6
BPC241242002 | Blue Smart Charger IP22 24/12 | each | 1846.2
BPC900100004 | M6 Eyelet Connector - Victron | each | 67.8
BPC900300004 | 12v Plug with fuse - Victron | each | 87.44
BPC900400004 | Clamp Connector with fuse - Victron | each | 81.1
PSC242551085 | Phoenix Smart IP43 Charger 24/25 | each | 0
SCC010010000 | Blue Solar PWM Light 12/24v 10A | each | 339.6
SCC010010050 | Blue solar PWM-USB 12/24v 10A | each | 393.6
SCC010020020 | Blue Solar PWM Light 12/24v 20A | each | 453
SCC010030020 | Blue Solar PWM Light 12/24v 30A | each | 622.8
SCC040030020 | PWM-Light Charge Controller 48v-30a | each | 1019.4
Inventory Category : 038 - Monitoring & Comms - Victron
AS03070000000 | VE Cam RJ45 Terminator (Bag of 2) | each | 119.49
ASS000100000 | Temperature sensor for BMV-702 | each | 234.6
ASS030064920 | RJ45 UTP Cable 0.9m | each | 75
ASS030064980 | Victron UTP to RJ45 - 3m | each | 136.2
ASS030130010 | Interface MK2-USB (VE.Bus to USB) | each | 849.6
ASS030140000 | Interface MK3-USB (VE.Bus to USB) | each | 724.5
ASS030520105 | Interface VE.Bus to VE.Can | each | 1879
ASS030520115 | Interface VE.Bus to VE.Can | each | 2061.6
ASS030530000 | Interface VE.Direct to USB | each | 2061.6
ASS030530010 | Interface VE. Direct to USB | each | 328.2
ASS030530203 | VE Direct Cable 0.3mm | each | 166.05
ASS030530218 | VE. direct Cable 1 8m | each | 164.12
ASS030530230 | VE Direct Cable 3M | each | 171.3
ASS030530250 | Ve Direct Cable 5M | each | 195.6
ASS030530310 | VE Direct Cable 10m | each | 260.4
ASS030531218 | VE Direct Cable 1.8m | each | 0
ASS030531320 | VE Direct Cable 10m-1 side Right angle c | each | 260.4
ASS030534000 | VE Direct to global remote interface | each | 787.8
ASS030536000 | Smart Dongle VE.Direct Bluetooth | each | 1627
ASS030536010 | Smart Dongle VE.Direct Bluetooth | each | 566.4
ASS030536011 | Smart Dongle VE Direct Bluetooth | each | 566.4
ASS030537010 | Smart Dongle VE Bus | each | 750.6
ASS030570018 | RS485 to USB interface 1.8m | each | 570.93
ASS030571018 | RS485 to USB Interface 1.8m | Each | 317.4
ASS030572018 | RS485 to USB Interface 1.8m | each | 314.67
ASS030572050 | RS485 to USB Interface - 5m | each | 305
ASS050400000 | Wall mount encl - Color Control GX | each | 453
ASS050500000 | Wall mount encl - BMV or MPPT Control | each | 253.5
ASS050600000 | Wall mount encl - Color Cntr+BMV or MPPT | each | 566.4
BAM010700000 | Battery Monitor BMV-700 | each | 1505.4
BAM010702000 | Battery Monitor BMV-702 | each | 2061
BAM010702200 | Battery Monitor BMV-702 BLACK | each | 2061
BAM020700000 | Battery Monitor BMV-700 | each | 1335
BAM03071200R | Battery Monitor BMV-712 Smart | each | 2378.4
BBA000100100 | Battery Balancer | each | 759
BPP010300100R | Colour Control GX Retail | each | 5957.4
BPP900100200 | CCGX WiFi module simple (Nano USB) | each | 256.08
BPP900200200 | CCGX WiFi module long range (Gembird) | each | 825
BPP900200300 | CCGX Wifi Module Long range | each | 825
BPP900400100 | Venus GX | each | 3397.8
BPR000065400 | Battery Protect 12/24v - 65A | each | 464.4
BPR065022000 | Battery protect Smart 12/24-65A | each | 690.6
BPR110048000 | Smart Battery Protect 48v 100A | each | 1755.6
CSE000100000 | AC Current Sensor - Single Phase Max 40A | each | 492
DMC000200010R | Digital Multi Control 200/200A GX | each | 1506.6
GSM100100100 | GX GSM | each | 0
REL100100000 | Anti-islanding relay UFR1001E | each | 4361.4
REL30010000 | Energy Meter ET112 - 1 Phase Max 100A | each | 861
REL300300000 | Energy Meter ET340 3Ph Max 65 Amp | each | 1231.12
SBS050100200 | Smart Battery Sense Short range | each | 295.2
SCC900500000 | MPPT Control | each | 750.6
SK0417 | Energy Meter Iskra WS0031 3phase | each | 1297.8
TIM0000100000 | Wireless Sensor Gateway | each | 1907
VGR000200000 | Victron Global Remote 2 | each | 6115.71
Inventory Category : 050 - Steca Charge Controllers
733968 | Steca Solsum 6.6F reg 12/24V 6A w.LVD | each | 187.77
734215 | Steca Solsum 10.10F reg 12/24V 10A w.LVD | each | 336.01
SR15-12 | Solar Regulator TES 12v 15amp | each | 135
STECA-SEM | Steca Grid Smart Energy Manager | each | 1773.88
Inventory Category : 051 - Solar Pumps
59539510 | UPA 15 - 90 (UK) | each | 968.4
95027327 | SQF 0.6-3 Rp 1 1/4 N cpl. | each | 17307.6
96449747 | Adaptor Set CR Flex | each | 407
96475074 | Switch Box IO 101 230V generator | each | 1901.4
96848670 | Pressure Manager PM1 1.5 Bar cut in | each | 735.6
Inventory Category : 052 - Solar Battery AGM
BAT412101084 | 12V 110A/H Gel Battery Victron | each | 2525.4
BAT412123081 | 12V/230Ah AGM Super Cycle Batt Victron | each | 6097.2
BAT412151084 | 12V/165Ah Deep Cycle Batt Victron | each | 3996
BAT412201084 | Victron 12v 220ah AGM Deep Cycle Battery | each | 5361
BAT412201085 | 12v 220a/h AGM Deep Cycle Battery | each | 0
BAT412201104 | 12v 220a/h Gell Deep Cycle Battery | each | 5018.4
HRP3215317200 | VRM6 - 200 Solar block | each | 0
OPR120-12 | Omnipower 12v 120a/h | each | 0
OPR240-12 | Omnipower 12v 240 AGM Gel VLR Deep Cycle | each | 5044.83
SOLARB6V200 | 6V 200 A/H Hoppecke Solar Bloc | each | 2801.64
Inventory Category : 054 - Solar Battery OPzS
OPZS520 | Vented lead acid battery 2V 520A/H | each | 0
Inventory Category : 055 - Solar Battery SLA Gel
6SGL200 | 12V SOLATRON 200A/H | each | 4380.01
Inventory Category : 057 - Solar Batteries Lithium
BN-13V-8-104 | Blue Nova 12v 8a/h Lithium | each | 1095
BN13V-22-280 | Blue Nova 12v 22a/h Lithium | each | 1850
BN13V-77-1K | Blue Nova 13v 1K Lithium Bank | each | 8190
BN13V-771K | Blue Nova 12v 77a/h Lithium | each | 8190
BN52-230-12K | Battery bank Lithium 52v 230a/h | each | 77170
BN52-77-4KTELEC | Blue Nova 52v 77-4k - Tele Com | each | 0
BN52V-460-24KWH | Lithium Battery Bank 52v 460a/h | each | 0
BN52V-620-32K | Bue Nova 52v 620a/h 32K Lithium battery | each | 0
BN52V-690-36K | Blue Nova 52v-690-36k | each | 0
BN52V-770-40KW | Battery Bank Lithium 52v 770a/h | each | 233100
BN52V-774K | Lithium Battery bank 52v 77a/h - classic | each | 28980
BN52V1250-65K | Lithuim Battery bank 52V 1250Ah 65kWh | each | 358310
BN52V31016K | Lithium Battery Bank 52V 310Ah 16kWh | each | 100310
FREEDOM15/11 | Freedom Lite Li-ion Batteries 15/11 | each | 82333
FREEDOMLITE10/8 | Freedom Lite 10/8 Lithium battery bank | each | 60978
IGEN11.3 | Igen 11.3Kwh - 220a/h Battery bank | each | 0
IGEN16.9 | Igen 16.9 - 330a/h Lithium battery bank | each | 92450.13
IGEN22.4KWH | Igen 22.4Kwh Lithium Battery | each | 118486.46
REV-R9-10.2-51S | Revov 10Kwh Battery bank | each | 34325.97
Inventory Category : 060 - Cable
16MMWELDBLK | 16mm Welding cable Black | each | 24.4
16MMWELDRED | 16mm Welding Cable Red | each | 24.4
1CAB-7100 | Cabtyre 2.5mm x 3 core Black (Drum) | mete | 8.83
1FPW-1215 | Single Flex 2.5mm panel wire Red | m | 2.71
1FPW-1220 | Single Flex Panel Black 2.5mm | each | 2.89
1FPW-1221 | Single Flex 2.5mm panel wire G/Y | mete | 2.71
1FPW-1270 | Single Flex 4mm panel wire Red | mete | 4.38
1FPW-1280 | Single Flex 4mm panel wire Black | mete | 4.82
1FPW-1300 | Single Flex 6mm panel wire Red | mete | 7.39
1FPW-1310 | Single Flex 6mm Panel Wire - BLACK | each | 7.39
1FPW-13233 | Single Flex 10mm panel wire G/Y | mete | 13.15
1HOU-1060 | House Wire 2.5mm Black | mete | 2.66
1HOU-1095 | House Wire 4mm Black | mete | 3.92
1HOU-1115 | House Wire 4mm Green /Yellow | m | 4.8
1HOU-1120 | House Wire 6mm Black | mete | 5.72
1HOU-1125 | House Wire 6mm Red | mete | 5.73
1HOU-1130 | House Wire 6mm Yellow Green | mete | 6.06
1HOU-2000 | Black House Wire 10mm | each | 10.59
1HOU-2200 | House Wire 10mm Yellow Green (200m) | mete | 10.2
1HOU-2600 | House Wire 16mm Black | mete | 14.98
1HOU-2700 | House Wire 16mm Red | mete | 14.88
1HOU-2800 | House Wire 16mm Yellow Green (100m) | mete | 15.3
1HOU-2900 | House Wire 16mm White | mete | 14.87
1HOU-3000 | House Wire 16mm Blue | mete | 14.87
1PLA-3650 | SWA 10mm x 4 core Cu PVC | mete | 56.7
1PLA-3950 | SWA 16mm x 4 core Cu PVC | mete | 73.5
1PLA-4150 | SWA 25mm X 4 cORE Cu PVC | each | 26
1PLA-4350 | SWA 35mm x 4 core Cu PVC | mete | 170
1PLA-5000 | SWA 50mm x 4 core Cu PVC | mete | 226.99
1SUR-2850 | Surfix 2.5mm x 2 core + earth Black (D) | mete | 8.19
1SUR-3300 | Surfix 4mm 2 core Earth shielded WHITE | each | 16.25
1SUR-3950 | Surfix 6mm 2 core + Earth Shielded Round | m | 22
1SUR-4250 | Surfix 6.0mm x 3 + earth White (Drum) | mete | 27.92
1SUR-4300 | Surfix 6mm x 4 core + earth white (100m) | mete | 32
1SUR-4350 | Surfix White 6mm 4 + Earth Shielded | each | 35
1SUR-4850 | 2.5mm x 2 FTE White(Drum) | each | 7.42
1SUR-5050 | Surfix 6mm x 2 FTE Flat White (D) | mete | 17.56
1SUR-5150 | Surfix 10mm x 2 FTE Flat White (D) | mete | 38.55
1SUR-5758 | Ripcord 1.5mm Red & Black | mete | 3.79
1SUR-5760 | Ripcord 2.5mm Red & Black | mete | 5.68
1SUR-5786 | Ripcord 4mm Red & Black | mete | 13.28
1WEL-1200 | 25mm 1core Cu Welding cable(Red) Permowe | each | 40
1WEL-1240 | 25mm x 1core Cu Welding Cable Perm | each | 39.34
1WEL-1273 | Battery Cable 35mm x 1 core Cu Red | mete | 49
1WEL-1276 | Battery Cable 35mm x 1 core Cu Black | mete | 49
1WEL-1355 | Battery Cable 50mm X 1core CU Black | each | 72
1WEL-13607 | Battery Cable 50mm x 1 core Cu Red | mete | 73.94
1WEL-1365 | Battery Cable 50mm x 1 core Cu Blue | mete | 78
1WEL-1454 | Battery Cable 70mm x 1 core Cu Black | mete | 82.1
1WEL-1456 | Battery Cable 70mm x 1 core Cu Red | mete | 82.1
25X1WELD | 25mm Welding Cable Peropower Black | each | 39
BCE-1700 | 16 mm Bare Copper Wire | each | 7.1
CCG-1004 | BW Gland No 2 (050302) | each | 41
SOL-10MMBLK | Solar Cable 10mm Black | each | 19.58
SOL-4MMBLK | Solar flex 4mm PV-1-F Black | mete | 8.69
SOL-4MMR | Solar flex 4mm PV-1-F Red | mete | 8.69
SOL-6MMBLK | Solar flex 6mm PV-1-F Black | mete | 9.75
SOL-6MMR | Solar flex 6mm PV-1-F Red | mete | 11.4
Inventory Category : 061 - Components Battery Protection
325000 | NH00 Terminal Cover Bases 160A | each | 10.76
325002 | NH1 Terminal covers for bases - 6 pp | each | 128.43
325010 | NH00 Fuselink cover 160A Hinged | each | 54.56
325020 | NH1-2 Hinged cover for fuse link - 3 pp | each | 88.54
325032 | NH00 Protection kit 3P 160A | each | 138.84
325250 | NH1-2 Seperators for fuse bases - 2 pp | each | 28.92
326100 | NH00 Seperator Plate 4 fuses | each | 22.75
326250 | NH1-2 Partition walls - 2 pp | each | 68.77
353102 | NH00 Fuse Holder Base 3 Pole | each | 163.7
354115 | NH00 Fuse base Din 1P 160A | each | 58.68
354250 | NH1 Fuse Holder base 1 pole (352250) | each | 168.94
354400 | NH2 Fuse Holder | each | 206.7
381070 | NH00 Fuse DIN 125A | each | 49.27
381255 | NH1 Fuse 160a | each | 66.53
381260 | NH1 Fuse 200A | each | 111.38
381370 | NH2 Fuse 315A | each | 0
BATT.FUSE | Battery fuse NH00 125Amp | each | 318.25
Inventory Category : 062 - Components Breakers Isolators
1MR125154 | 125A 3Ph+N Multipole Distr Terminal | each | 204.1
ALL-RB-AB10/83 | Ready DB Board 63A | each | 0
B14500 | 150A 80kW AC/DC 3 pole contactor | each | 4444.05
BF09T2A | Lovato 4pole 16kw contactor | each | 614.13
BF2501 | Lovato 3P 12.5kW Contactor | each | 534.3
BF38004230 | 38A 3P Contactor 230V Coil | each | 977.16
BF8000230 | 80A 3P Contactor 230V Coil | each | 1886.32
CD264 | Earth Leakage CD264 | each | 349.05
ESC463 | Cont 63A 10 Kw 4/N/0 220vAC | each | 675.74
ESC4635 | Contactor 63A 230Vac/DC Coil | each | 284.46
GA040A | Load Breaker SW 40A DC 15x10x25 LOVATO | each | 206.7
GA063SA | Load Break Switch SW 63A 22.0KW 3P | each | 284.05
GA080A | Load Break SW 80A 45.0kW 3P DM | each | 489.06
GAX42125A | Attach 4th pole-SW GA063-125A | each | 149.5
GAZ080C | 80A 45.0kW 3PP IP65 | each | 785.2
HHA125Z | 125A 3PP MCCB 25kA | each | 969
HLF280S | CB 2PC 10KA 80A (HMF280) | each | 660.66
HLF290S | Circuit Breaker 2P 100A | each | 678.6
HLF48S | Circuit Breaker 4P C 10kA 80A | each | 1937.32
HLF490S | Circuit Breaker 4P C 10kA 100A | each | 2138.76
HNB200Z | MCCB X 250 25kA 3P 200A | each | 2110.68
HNB251U | MCCB X 250 40kA 4P 160-250A | each | 3882.06
KG20-T104D | K&N Single String DC Switch Disconecct | each | 397.94
MJN372 | Circuit Breaker 1P + N 4.5kA 32A | each | 154.44
MN120 | Circuit Breaker 1P 20A 6kA Hager | each | 39.65
MN132 | Circuit Breaker 1P 32A 6kA Hager | each | 44.65
MN150 | Circuit Breaker 1P 50A 6KA | each | 29.25
MN216 | Circuit Breaker 2P 16A 6kA HAGER | each | 92.65
MN220 | Circuit Breaker 2P 20A 6kA HAGER | each | 177.06
MN225 | Circuit Breaker 2P 25A 6kA HAGER | each | 177.06
MN232 | CB 2P6KA 32A | each | 139.78
MN250 | CB 2P 6KA 50A | each | 174.92
MN320 | Circuit Breaker 3P 20A 6kA HAGER | each | 243.36
MN325 | Circuit Breaker 3P 25A 6kA HAGER | each | 243.36
MN3500 | Circuit Breaker Hager 3P 50A 6kA | each | 197.6
MN363 | Circuit Breaker 3P 63A 6kA HAGER | each | 287.04
MN406 | Circuit Breaker 4P 6A 6kA HAGER | each | 548.34
MN425 | Circuit Breaker 4P 25A 6kA HAGER | each | 566.28
NF216A | Circuit Breaker 2P 16A 10kA HAGER | each | 217.62
NF220A | Circuit Breaker 2P 20A 10kA HAGER | each | 217.62
NF232A | Circuit Breaker 2P 32A 10kA HAGER | each | 239.95
NF316A | Circuit Breaker 3P 16A 10KA Hager | each | 306.8
NF363A | Circuit Breaker 3P 63A 10kA HAGER | each | 323.7
SBN263 | Isolator 2P 63A HAGER | each | 0
SBN290 | Isolator 2P 100A HAGER | each | 124.57
SBN363 | Isolator 3P 63A HAGER | each | 168.48
SBN390 | Isolator 3P 100A HAGER | each | 210.6
SF263 | Change over switch 2P 63A | each | 341.25
SF463 | Change Over Switch 4P 63A HAGER | each | 906.36
Inventory Category : 063 - Components Lightning Protectio
12-00232 | SS40P Complete | each | 448.83
12-00237 | Surge Arrestor Red Clearline | each | 191.45
12-00238 | Surge Arrestor Blue Clearline | each | 282.48
12-00670 | Cat 5 Single Network Line SDP | mete | 2.3
1351270000 | Surge Arrestor 1000V DC Weidmuller | each | 0
1351340000 | Surge Arrestor 600V DC Weidmuller | each | 838.93
D0020506 | Weidmuller Electronic Surge Prot 1000V | each | 0
PSM-20/230TT | SPD Class 2.20kA 320V 1Ph+N | each | 334.88
PSM2-40/230TT | Surge Arrestor CL2 40KA 275V 1P+N | each | 802.61
Inventory Category : 064 - Components Pilot Lights
72M3440 | Rocker switches | each | 13.85
AD16-16C23G | Pilot Light 230V AC 16mm Green | each | 29.64
AD16-16C23R | Pilot Light 230V AC 16mm Red | each | 29.64
AD16-22DS23G | Pilot Light 230V AC 22mm Green | each | 29.64
AD16-22DS23R | Pilot Light 230V AC 22mm Red | each | 29.64
LP2TILM4P | Pilot Light 1P Red HAGER | each | 21.84
SVN121 | LED Indicator light Hager Green | each | 30.56
SVN122 | LED Indicator light Hager Red | each | 100.9
Inventory Category : 065 - Components PV Fuses
421050 | Fuses 14x51 50A | each | 9.35
485150 | Fuse holder PV 1P 32A 10x38 1000V | each | 32.14
485151 | Fuse holder PV 2P 32A 10x38 1000V | each | 64.92
485201 | Fuse Holder Single Pole 14/51 50A | each | 68.02
485205 | Fuse Holder 14x51 50A 3P | each | 218.7
485250 | Fuse Holder 14x51 50A 1P | each | 84.47
491630 | Fuse Barrel 16A 1000V DC 10x38 | each | 35.65
491945 | 32A Barrel Fuse 600V DC | each | 41.11
492024 | 50A DC Barrel Fuses | each | 50.85
CIP000100001 | Fuse holder for Mega fuse | each | 112.8
CIP137250010 | Fuse 250A | each | 117.08
CIP137300010 | Fuse 300A | each | 161.68
Inventory Category : 066 - Components Pre-Wired DB
BRF1000 | Busbar M6 Threaded 12x4x1M | each | 192.1
BRF1010 | Busb M6 Threaded 15 x 15 x1M | each | 259.4
MRS416 | Busb Supp 3PH+N 160A 16MM | each | 178.1
Inventory Category : 070 - Monitoring and Communication
N300 | TP-Link Wi-Fi Extender | each | 456.52
SMA-BAT-TEMP-SE | Reserve Battery Temperature Sensor | each | 0
Inventory Category : 071 - Enclosures
686.409 | PVC Screw Lid | each | 333.06
686411 | Junction Box - PVC - 450x370x180 | each | 680.98
BAT-STAND200 | Battery Stand for 200A X 4 | each | 1500
BATT-BOX | Battery Box | each | 1700
CAB-2W | Cabinet - 2 Way | each | 1741.69
CAB-4W | Cabinet - 4 Way | each | 3740
FL404A | Internal Chassis Plate | each | 122.85
FL408A | Internal Chassis Plate | each | 204.1
FL544A | Internal door assembly | each | 747.5
FL548A | Internal Door Assembly | each | 824.2
FL711E | Blank Front Cover | each | 105.72
FL712E | Blank front cover | each | 125.89
FL96Z | Lever Handle Door Lock and Key | each | 68.5
GD104B | Shroud Surface Mount 4 Way | each | 47.1
GD1105B | Enclosure 10 Way | each | 100.1
HE201 | Sheet Metal Enclosure 50x250x170 IP65 | each | 650.29
HE202 | Sheet Metal Enclosure 450x300x220 IP65 | each | 817.44
HE203T | Enclosure IP55 550X400X220 Transp door | each | 1305.85
HE204 | Encl 650X450x270 | each | 1149.85
HE205 | Sheet Metal Enclosure 750x550x270 IP65 | each | 1780
HE207 | Sheet Metal Enclosure 950x700x270 IP65 | each | 2226.9
VE112L | DB Box 12W IP65 | each | 382.72
VS112TJ | Surface mount 12W IP40 | each | 265.54
VS118TJ | Surface mount 18W IP40 | each | 339.36
VS212TJ | DB 24w Surface Mount | each | 364.03
Inventory Category : 072 - Mounting structure
10020998 | Edge piece 32.4mm New Frame 10pp | each | 5.48
10020999 | Edge piece 32.4mm Black New Frame 10pp | each | 5.2
10028440 | Module Clamp 33mm New Frame 50pp | each | 13.44
10028441 | Module Clamp 33mm Black New Frame 50pp | each | 13.7
10028456 | End caps for Fixplus1 | each | 1.66
10028743 | Roof Hook Max 0-24 | each | 145.2
10029519 | Angle Flange M10 90 Degrees Angle 50pp | each | 23.73
10029545 | Short Bolt Torx M8X16 (50pp) | each | 2.48
10029547 | Short Bolt Torx M8X24 (50pp) | each | 3
I0000438 | P1062 Flat Fitting 9mm | each | 4.2
I0000819 | CBT CSN 108EG Spring Nut | each | 3.49
I0001336 | Hex Set Screw GR 4.8 | each | 0.88
I0001417 | Fender Washer | each | 0.46
I000560 | CBT P1000 Channel 5m | each | 414.72
IBRF | IBRF Fixture | each | 35
ILAN | Alu Drop in Nut - Ilaanga | each | 5
ILCORIBR | Corrugated/IBR Fixture | each | 35
ILCS20 | M8 X 20mm Cap Screw | each | 2.5
ILCS25 | M8 X 25mm Cap Screw 25mm | each | 2.7
ILCS30 | M8 X 30mm Cap Screw | each | 2.9
ILCS35 | M8 X 35 Cap Screw | each | 3.1
ILDIP | Standard Drop In profile | each | 238.5
ILEARTH | Earth Clip | each | 2.8
ILEC33 | End Clamp 33mm | each | 10
ILEC35 | End Clamp 35mm - Ilaanga | each | 10
ILEC40 | End Clamp 40mm | each | 10
ILIBFR | IBRF Fixture | each | 35
ILKLRC10 | Cliplock Roofclamp 10mm Hole | each | 49
ILKLRC8 | Cliplock roofclamp M8 threaded hole | each | 49
ILLDIP | Light drop in Profile 4.25m lenghts | each | 165
ILMC | Middle Clamp | each | 10
ILMDIP | Medium Drop in profile | each | 265
ILPCS | Profile Connector set | each | 18
ILRHEX | Illaanga roof hook extension | each | 10
ILRHT01 | Ilanga roof hook tile | each | 0
ILSSEC | Stainless Steel Earthclip | each | 2.8
KLIPLOK | Kliplock roof Clamp | each | 45
M10X25HBFN | M10 X 25 Hex Bolt & Flange Nut | each | 6.01
M8X30CS | M8 X 30 Cap Screw | each | 2.89
P30 | Eco Truss 38mm purlin Top Hat | m | 14.5
P38 | 38mm Purlin - 6M Lenghts | 6 m | 87
PCS | Profile Connector Set | each | 35
RHT01 | Roofhook tiles - Ilaanga | each | 125
RT | Portrait Eco Truss Triangle | each | 165.93
RT-TRUSSLIGHT | RT Truss Landscape - Solar Frames | each | 130
SC-IBRPP | SC-IBR Per Panel postion | each | 114.75
SC-RTB | SC- Roof Tile Brackets | each | 35
TOTAL OF SELECTED RANGE